2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-22 13:49 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1594429 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-15 08:10 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | <1 | MPN/100 mL | 1542817 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1571862 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1575858 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | <1 | µg/L | 1571856 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1571880 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1571864 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1571864 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1571868 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | <0.5 | µg/L | 1571870 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-13 09:06 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | <0.3 | mg/L | 1542822 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1575872 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1571852 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | <0.05 | mg/L | 1575848 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-11 14:35 |  | COND | SM 2510 B | Cond | Specific Conductance | 180 | µS/cm | 1542818 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 89 | mg/L | 1542939 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 32 | µg/L | 1571860 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 26 | mg/L | 1571844 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 26 | mg/L | 1575840 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-16 11:30 |  | ANIONS | EPA 300 | SO4 | Sulfate | 25 | mg/L | 1542814 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-11 15:08 |  | FLOW |  | Flow | Stream Flow | 22 | CFS | 1542819 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-11 14:35 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 9.7 | mg/L | 1542940 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-11 14:35 |  | PH | SM 4500H+ B | pH | pH | 8.6 | SU | 1542821 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 5.8 | mg/L | 1571836 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 5.5 | mg/L | 1575832 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 3 | µg/L | 1571850 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-11 14:35 |  | TEMP | SM 2550 B | Temp | Water Temperature | 1 | °C | 1542825 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 1 | µg/L | 1571866 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | 1 | µg/L | 1575862 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-16 11:30 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.79 | mg/L | 1542815 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-08 16:01 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 0.7 | µg/L | 1571882 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:30 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-04-12 14:03 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 0.6 | µg/L | 1575878 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1570886 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-22 13:49 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1594431 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-15 08:10 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | <1 | MPN/100 mL | 1543369 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1570890 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1579152 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1570908 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570892 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570892 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1570896 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1579166 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1570880 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-11 14:35 |  | COND | SM 2510 B | Cond | Specific Conductance | 800 | µS/cm | 1543370 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 500 | mg/L | 1543491 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-16 11:30 |  | ANIONS | EPA 300 | SO4 | Sulfate | 430 | mg/L | 1543366 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 200 | µg/L | 1570878 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 180 | mg/L | 1570872 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 170 | µg/L | 1570894 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 160 | mg/L | 1579134 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-12 11:05 |  | NH3-COND | SM 4500N D | NH3 | Ammonia as N | 136 | µg/L | 1581891 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | 130 | µg/L | 1579156 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 56 | µg/L | 1570888 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-11 15:08 |  | FLOW |  | Flow | Stream Flow | 18 | CFS | 1543371 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 13.2 | mg/L | 1570864 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 11.8 | mg/L | 1579126 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-11 14:35 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 9.9 | mg/L | 1543492 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-11 14:35 |  | PH | SM 4500H+ B | pH | pH | 8.2 | SU | 1543373 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 4.8 | µg/L | 1570910 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 4.3 | µg/L | 1579172 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | 3 | µg/L | 1570884 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-08 15:31 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | 0.6 | µg/L | 1570898 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-16 11:30 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.43 | mg/L | 1543367 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-13 09:05 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | 0.4 | mg/L | 1543374 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-04-12 13:28 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | 0.05 | mg/L | 1579142 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-03-11 11:00 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-11 14:35 |  | TEMP | SM 2550 B | Temp | Water Temperature | 0 | °C | 1543377 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1573640 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-27 13:26 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1537023 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-22 09:25 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | <1 | MPN/100 mL | 1516408 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1573644 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1577910 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1573662 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1573646 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1573646 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1573650 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | <0.5 | µg/L | 1573652 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-19 10:02 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | <0.3 | mg/L | 1516413 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1577924 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1573634 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | <0.05 | mg/L | 1577900 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-21 17:22 |  | NH3-HACH | HACH 8155 | NH3 | Ammonia as N | <0.05 | mg/L | 1516411 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-20 14:28 |  | COND | SM 2510 B | Cond | Specific Conductance | 220 | µS/cm | 1516409 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:22 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 124 | mg/L | 1516530 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-10-14 10:16 |  | FLOW |  | Flow | Stream Flow | 83 | CFS | 1516410 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | SO4 | Sulfate | 83 | mg/L | 1516405 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 42 | mg/L | 1573626 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 42 | mg/L | 1577892 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 30 | µg/L | 1573648 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | 29 | µg/L | 1577914 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 25 | µg/L | 1573642 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-20 14:28 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 8.7 | mg/L | 1516531 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-20 14:28 |  | PH | SM 4500H+ B | pH | pH | 8.3 | SU | 1516412 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 4.9 | mg/L | 1577884 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 4.7 | mg/L | 1573618 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-01-20 14:28 |  | TEMP | SM 2550 B | Temp | Water Temperature | 2 | °C | 1516416 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 2 | µg/L | 1573632 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-03-05 13:56 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 1.2 | µg/L | 1577930 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 1.1 | µg/L | 1573664 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-26 14:24 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | 1 | µg/L | 1573638 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 12:10 | WS-BL-004 | Blue river outlet downstream from Dillon Reservoir Dam | 39.6255 | -106.0665 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.24 | mg/L | 1516406 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1570616 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-27 13:26 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1537022 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-22 09:25 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | <1 | MPN/100 mL | 1516132 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1570620 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1577856 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1570638 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570622 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570622 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1570626 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | <0.5 | µg/L | 1570628 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-19 10:02 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | <0.3 | mg/L | 1516137 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1577870 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1570610 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-20 14:28 |  | COND | SM 2510 B | Cond | Specific Conductance | 610 | µS/cm | 1516133 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:20 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 440 | mg/L | 1516254 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | SO4 | Sulfate | 310 | mg/L | 1516129 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 180 | µg/L | 1570608 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 170 | mg/L | 1577838 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 170 | µg/L | 1570624 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 160 | mg/L | 1570602 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | 140 | µg/L | 1577860 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 47 | µg/L | 1570618 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-10-14 10:16 |  | FLOW |  | Flow | Stream Flow | 20 | CFS | 1516134 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 10.9 | mg/L | 1577830 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 10.8 | mg/L | 1570594 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-20 14:28 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 10.1 | mg/L | 1516255 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-20 14:28 |  | PH | SM 4500H+ B | pH | pH | 8.1 | SU | 1516136 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 5.1 | µg/L | 1577876 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 5 | µg/L | 1570640 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-26 14:21 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | 3 | µg/L | 1570614 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.45 | mg/L | 1516130 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-03-05 13:53 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | 0.07 | mg/L | 1577846 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-21 17:22 |  | NH3-HACH | HACH 8155 | NH3 | Ammonia as N | 0.06 | mg/L | 1516135 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:25 | WS-BL-003 | Ten-mile Creek inlet upstream of Dillon reservoir | 39.5794 | -106.0934 | 2010-01-20 14:28 |  | TEMP | SM 2550 B | Temp | Water Temperature | -1 | °C | 1516140 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1570562 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-27 13:26 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1537020 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | <2 | µg/L | 1570554 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1570566 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1576992 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | <1 | µg/L | 1576996 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | <1 | µg/L | 1570560 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1570584 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570568 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570568 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1570572 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | <0.5 | µg/L | 1570574 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-19 10:02 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | <0.3 | mg/L | 1515585 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1577006 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1570556 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | <0.05 | mg/L | 1576982 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-21 17:22 |  | NH3-HACH | HACH 8155 | NH3 | Ammonia as N | <0.05 | mg/L | 1515583 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-20 14:27 |  | COND | SM 2510 B | Cond | Specific Conductance | 160 | µS/cm | 1515581 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 81 | mg/L | 1515702 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 38 | µg/L | 1570564 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 25 | mg/L | 1576974 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 24 | mg/L | 1570548 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | SO4 | Sulfate | 22 | mg/L | 1515577 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-10-14 10:16 |  | FLOW |  | Flow | Stream Flow | 20 | CFS | 1515582 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-20 14:27 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 9.9 | mg/L | 1515703 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-20 14:27 |  | PH | SM 4500H+ B | pH | pH | 8.4 | SU | 1515584 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 5.4 | mg/L | 1576966 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 5.1 | mg/L | 1570540 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-22 09:25 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | 2 | MPN/100 mL | 1515580 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-01-20 14:27 |  | TEMP | SM 2550 B | Temp | Water Temperature | 1 | °C | 1515588 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 1 | µg/L | 1570570 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.73 | mg/L | 1515578 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-02-26 15:03 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 0.6 | µg/L | 1570586 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 11:00 | WS-BL-001 | Blue River inlet upstream of Dillon reservoir | 39.5666 | -106.0494 | 2010-03-05 14:53 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 0.6 | µg/L | 1577012 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1570508 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-27 13:26 |  | NUT-FIA |  | P | Total Phosphorus as P | <4 | µg/L | 1537021 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1570512 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1576938 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | <1 | µg/L | 1570516 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | <1 | µg/L | 1576942 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1570530 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570514 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570514 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1570518 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | <0.5 | µg/L | 1570532 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-19 10:02 |  | TKN | EPA 351.3 | TKN | Total Kjeldahl Nitrogen | <0.3 | mg/L | 1515723 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1576952 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1570502 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-21 17:22 |  | NH3-HACH | HACH 8155 | NH3 | Ammonia as N | <0.05 | mg/L | 1515721 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 340 | µg/L | 1570510 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 250 | µg/L | 1570500 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-20 14:27 |  | COND | SM 2510 B | Cond | Specific Conductance | 150 | µS/cm | 1515719 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 69 | mg/L | 1515840 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | SO4 | Sulfate | 47 | mg/L | 1515715 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 20 | mg/L | 1570494 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 20 | mg/L | 1576920 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-10-14 10:16 |  | FLOW |  | Flow | Stream Flow | 12 | CFS | 1515720 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-20 14:27 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 10.2 | mg/L | 1515841 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-20 14:27 |  | PH | SM 4500H+ B | pH | pH | 8.4 | SU | 1515722 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 4.9 | mg/L | 1576912 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 4.6 | mg/L | 1570486 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | 3 | µg/L | 1570506 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-26 14:19 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | 1.1 | µg/L | 1570520 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-22 09:25 |  | COLI-MPN | SM 9223B (b) | E. coli | E. coli | 1 | MPN/100 mL | 1515718 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-01-20 14:27 |  | TEMP | SM 2550 B | Temp | Water Temperature | 1 | °C | 1515726 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 0.9 | µg/L | 1576958 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-02-10 13:55 |  | ANIONS | EPA 300 | NO3 + NO2 | Nitrate + Nitrite as N | 0.18 | mg/L | 1515716 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-20 10:20 | WS-BL-002 | Snake River inlet upstream of Dillon reservoir | 39.6045 | -106.0104 | 2010-03-05 13:50 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | 0.14 | mg/L | 1576928 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Cu-D | Copper, Dissolved | <5 | µg/L | 1570076 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | As-D | Arsenic, Dissolved | <1 | µg/L | 1570080 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | As-T | Arsenic, Total | <1 | µg/L | 1577586 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Ni-D | Nickel, Dissolved | <1 | µg/L | 1570074 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Pb-D | Lead, Dissolved | <1 | µg/L | 1570098 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570082 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Se-D | Selenium, Dissolved | <1 | µg/L | 1570082 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Ag-D | Silver, Dissolved | <0.5 | µg/L | 1570086 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Cd-D | Cadmium, Dissolved | <0.5 | µg/L | 1570088 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | Hg-T | Mercury, Total | <0.1 | µg/L | 1577600 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Fe-D | Iron, Dissolved | <0.05 | mg/L | 1570070 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-14 08:47 |  | FLOW |  | Flow | Stream Flow | 173 | CFS | 1517609 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-13 15:57 |  | COND | SM 2510 B | Cond | Specific Conductance | 160 | µS/cm | 1517607 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | HARD-CALC | Calculated | Hardness | Hardness as CaCO3 | 103 | mg/L | 1517722 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Ca-D | Calcium, Dissolved | 32 | mg/L | 1570062 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | Ca-T | Calcium, Total | 32 | mg/L | 1577568 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Zn-D | Zinc, Dissolved | 22 | µg/L | 1570078 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Mn-D | Manganese, Dissolved | 21 | µg/L | 1570068 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-27 13:26 |  | NUT-FIA |  | P | Total Phosphorus as P | 16 | µg/L | 1537016 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Mo-D | Molybdenum, Dissolved | 15 | µg/L | 1570084 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | Mo-T | Molybdenum, Total | 15 | µg/L | 1577590 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-13 15:57 |  | DO-LUM | ASTM D888 | DO | Dissolved Oxygen | 10.8 | mg/L | 1517723 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-13 15:57 |  | PH | SM 4500H+ B | pH | pH | 7.9 | SU | 1517605 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | Mg-T | Magnesium, Total | 5.7 | mg/L | 1577560 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | Mg-D | Magnesium, Dissolved | 5.5 | mg/L | 1570054 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | U-T | Uranium, Total | 0.9 | µg/L | 1577606 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-02-26 14:56 |  | ICPMS-DISS | EPA 200.8 | U-D | Uranium, Dissolved | 0.8 | µg/L | 1570100 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-03-05 14:44 |  | ICPMS-TOT | EPA 200.8 | Fe-T | Iron, Total | 0.09 | mg/L | 1577576 | Routine Watershed Monitoring for Current Year | WATERSHED
2010-01-13 10:45 | WS-BL-023 | Blue River upstream of confluence with Colorado River | 40.0372 | -106.3903 | 2010-01-13 15:57 |  | TEMP | SM 2550 B | Temp | Water Temperature | 0 | °C | 1517604 | Routine Watershed Monitoring for Current Year | WATERSHED